## Sheet1
50248340 Części zamienne S&S Valve CO.
zap. | LP. | Indeks | Nazwa | OPIS | Wymagana ilość | Jednostka miary | Opis dostawcy
50248340 | 1 | K03-132383 | Grzyb+trzpień 1110-D4RT-2B-A105-06 p7+11 | PLUG&STEM, pos. 7+ pos.11 , drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | KPL
| 2 | K03-132359 | Gniazdo zaw 1110-D4RT-2B-A105-06 p8 S&S | Seat Ring, pos. 8 drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | SZT
| 3 | K03-132362 | Tuleja 1110-D4RT-2B-A105-06 p9 S&S | Cage, pos. 9 drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | SZT
| 4 | K03-132363 | Tuleja dyst 1110-D4RT-2B-A105-06 p10 S&S | CAGE SPACER, pos. 10, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | SZT
| 5 | K03-132353 | Pierść uszcz 1110-D4RT-2B-A105-06 p15S&S | BALANCE SEAL, pos. 15, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | SZT
| 6 | K03-132365 | Pierścień 1110-D4RT-2B-A105-06 p16 S&S | BACKUP RING, pos. 16, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 2 | SZT
| 7 | K03-132360 | Podkł. dław 1110-D4RT-2B-A105-06 p20 S&S | PACKING WASHER, pos. 20, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | SZT
| 8 | K03-132354 | Dławik 1110-D4RT-2B-A105-06 p21 S&S | GLAND, pos. 21, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | SZT
| 9 | K03-132356 | Pierść graf 1110-D4RT-2B-A105-06 p25 S&S | GLAND PACKING set, pos. 25, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 2 | KPL
| 10 | K03-132355 | Płyta dławika 1110-D4RT-2B-A105-06 p26 | GLAND FLANGE, pos. 26, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | SZT
| 11 | K03-132358 | Uszczelka 1110-D4RT-2B-A105-06 p28 S&S | SEAT GASKET, pos. 28, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 2 | SZT
| 12 | K03-132364 | Uszczelka 1110-D4RT-2B-A105-06 p29 S&S | CAGE GASKET, pos. 29, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 2 | SZT
| 13 | K03-132366 | Uszczelka 1110-D4RT-2B-A105-06 p30 S&S | BONNET GASKET, pos. 30, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 2 | SZT
| 14 | K03-132357 | Szpilka 1110-D4RT-2B-A105-06 p34 S&S | BONNET BOLT set, pos. 34, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | KPL
| 15 | K03-132361 | Szpilka 1110-D4RT-2B-A105-06 p37 S&S | GLAND BOLT set, pos. 37, drawing 1110-D4RT-2B-A105-06. Valve 11HAD50AA202, CCGT Wloclawek. Valve type 2"(50A) CLASS 600LB FORGED GLOBE VALVE. SW ENDS.WITH SDA-4RT. ACTUATOR. , MODEL SS-1110. | 1 | KPL
| 16 | K03-132367 | Gniazdo zaw 2010-SLC-3B-WCB-04 p8 S&S | SEAT RING, pos. 8 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VAVLE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | SZT
| 17 | K03-132368 | Tuleja 2010-SLC-3B-WCB-04 p9 S&S | CAGE, pos. 9 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VAVLE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | SZT
| 18 | K03-132372 | Tuleja dyst 2010-SLC-3B-WCB-04 p10 S&S | CAGE SPACER, pos. 10 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VAVLE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | SZT
| 19 | K03-132370 | Grzyb+trzpień 2010-SLC-3B-WCB-04 p14 S&S | PLUG+STEM, pos. 14 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VAVLE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | KPL
| 20 | K03-132371 | Pierść uszcz 2010-SLC-3B-WCB-04 p15 S&S | BALANCE SEAL, pos. 15 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 2 | SZT
| 21 | K03-132369 | Pierścień 2010-SLC-3B-WCB-04 p16 S&S | BACKUP RING, pos. 16 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 2 | SZT
| 22 | K03-132375 | Podkł. dław 2010-SLC-3B-WCB-04 p20 S&S | PACKING WASHER, pos.20 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | SZT
| 23 | K03-132378 | Dławik 2010-SLC-3B-WCB-04 p21 S&S | GLAND pos.21 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | SZT
| 24 | K03-132377 | Pierść graf 2010-SLC-3B-WCB-04 p25 S&S | GLAND PACKING pos.25 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 2 | KPL
| 25 | K03-132376 | Płyta dławika 2010-SLC-3B-WCB-04 p26 S&S | GLAND FLANGE pos.26 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | SZT
| 26 | K03-132374 | Uszczelka 2010-SLC-3B-WCB-04 p28 S&S | SEAT GASKET pos.28 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 2 | SZT
| 27 | K03-132379 | Uszczelka 2010-SLC-3B-WCB-04 p29 S&S | CAGE GASKET pos.29 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 2 | SZT
| 28 | K03-132380 | Uszczelka 2010-SLC-3B-WCB-04 p30 S&S | BONNET GASKET pos.30 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 2 | SZT
| 29 | K03-132381 | Szpilka 2010-SLC-3B-WCB-04 p34 S&S | BONNET BOLT pos.34 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | KPL
| 30 | K03-132373 | Szpilka 2010-SLC-3B-WCB-04 p37 S&S | GLAND BOLT pos.37 drawing 2010-SLC-3B-WCB-04. Valve 11HAD70AA201, CCGT Wloclawek. Valve type 3"(80A) CLASS 2500LB CAST ANGLE VALVE.BW ENDS.WITH SLC-420RS. ACTUATOR.. , MODEL SS-2010. | 1 | KPL