Appendix No. 6 to Request for Quotation No. ZO/FENG/2026/04/02

The Ordering Party informs that after the conclusion of the request for quotation procedure, and prior to signing the agreement with the selected Bidder, an audit is planned in order to verify the capability to perform the research service for part ……… of Request for Quotation No. ZO_FENG_2026_04_02, in accordance with applicable legal and regulatory requirements, in particular:

- ISO 13485 (Quality Management System for Medical Devices),

- Regulation (EU) 2017/745 (MDR),

- Act of April 7, 2022 on Medical Devices.

The audit will be conducted by designated employees of the Ordering Party and/or external experts. A positive audit result is a condition for concluding the agreement.

Audit Execution:

- The audit date will be agreed with the Bidder immediately after the conclusion of the request for quotation procedure, but no later than 14 days from its conclusion.

- The audit will be conducted at the Contractor’s premises and/or at the place where the service is provided. A hybrid audit is permitted, understood as performing part of the audit activities on-site and part remotely using electronic communication means.

- The Contractor is required to provide auditors with access to the necessary documentation, facilities, personnel, and to provide all required information.

- The estimated audit duration is 2–3 days and depends on the complexity of the Bidder’s organizational structure. The final duration will be confirmed after the conclusion of the procedure and agreement on the detailed audit plan.

- An audit report containing the final recommendation will be prepared.

- The audit result is considered positive provided that no critical nonconformities are identified. Non-critical nonconformities and observations are acceptable.

- The audit report, along with the assessment of identified nonconformities, will form the basis for approval or rejection of the Contractor within the Ordering Party’s quality system.

- Non-critical nonconformities and observations may be subject to corrective actions or monitored during contract execution.

Definitions:

Critical nonconformity – failure to meet a requirement that has a direct or potentially significant impact on the safety, effectiveness, quality, or compliance of medical devices or services.
Non-critical nonconformity – deviation from standards, procedures, or regulations that does not fundamentally undermine the effectiveness of the quality management system nor significantly affect safety, effectiveness, or compliance.
Observation – an area or aspect of the management system with potential for improvement in effectiveness, efficiency, or compliance.

Proposed Audit Plan:

- Quality Assurance System

- Presentation of the research unit

- Organizational structure

- Scope of activities (animal species, types of studies)

- Legal status, permits, ethics committee approvals

- Personnel – roles and responsibilities

- Study Director

- Veterinarian

- QA (Quality Assurance)

- Technical staff

- Scope of responsibilities, qualifications, experience

- Document and Record Control

- SOPs (Standard Operating Procedures)

- Study protocols

- Final reports

- Archiving (including GLP archive – for Part III if applicable)

- Outsourced Processes Oversight

- Subcontractor oversight (e.g., analytical laboratories)

- Quality agreements

- Service evaluation and monitoring

- Animal Housing Environment

- Environmental conditions (temperature, humidity, ventilation, lighting)

- Cleanliness and hygiene

- Monitoring systems and alarms

- Equipment Management

- Calibration and qualification

- Animal monitoring equipment

- Computerized systems (if applicable – CSV validation)

- Nonconformities / Incident Handling

- Protocol deviations

- Adverse events in animals

- Documentation and follow-up procedures

- Traceability and Labeling

- Animal identification

- Biological sample identification

- Sample chain of custody

- Facilities and Infrastructure

- Animal facility

- Quarantine / isolation areas

- Procedure rooms

- (if applicable) controlled environment rooms

- Quality Assurance System Documentation

- Personnel Training

- GLP training (for Part III if applicable)

- Animal welfare training

- Competency assessment and training effectiveness

- Change Control

- Changes in study protocols

- Changes in SOPs, equipment, systems

- Impact assessment

- CAPA (Corrective and Preventive Actions)

- Root cause analysis

- Action tracking

- Effectiveness evaluation

- Supplier Qualification

- Animal suppliers

- Feed, bedding, material suppliers

- Quality assessment and audits

- Service Provider Qualification

- External laboratories

- Animal transport

- Specialized services

- Internal Inspections (QA)

- System audits

- Study audits

- Schedules and reports

- Complaints and Incidents

- Sponsor complaints

- Quality issues

- Investigation procedures

- Hygiene Plan

- Cleaning and disinfection procedures

- Cross-contamination prevention

- Access control

- Risk Management

- Risk assessment for animal welfare, data quality, and study conduct

- Study and Report Approval

- Study protocol approval

- Review and signing of final reports

- Handling of Sponsor Property

- Test articles

- Samples

- Data and reports

- Ethics and Animal Welfare

- Approvals and Ethical Oversight

- Ethics committee approvals

- Regulatory compliance

- Animal Welfare

- Health monitoring

- Humane endpoints

- Observation records

- Veterinary Care

- Veterinary supervision

- Treatment, euthanasia

- Medical documentation

## BIDDER’S DECLARATION

By participating in the procedure conducted under the request for quotation for part ……… (part number and title) of Request for Quotation No. ZO_FENG_2026_04_02, I declare that I have read the proposed audit plan and consent to the audit being conducted by the Ordering Party or an authorized third party prior to signing the agreement, in accordance with the audit plan agreed in writing between the Ordering Party and the Bidder.

I also undertake to provide auditors with all necessary documents and information directly related to the scope of the planned cooperation.

The detailed audit plan will be agreed with the Ordering Party.

No claims shall arise against the Ordering Party in connection with the audit, including in the case of a negative result.

| (place and date) | Signature of authorized representative(s) of the Bidder |
| --- | --- |