Załącznik nr 4 do SWZ Ceny jednostkowe materiałów i części zamiennych

| Oznaczenie części/elementu/materiału | Nazwa | Cena jednostkowa /zł netto/ |
| --- | --- | --- |
| 7042240 | Mounting spare part |  |
| 2046142 | Assembly spare part |  |
| 2046101 | Assembly spare part |  |
| 7041214 | Flat seal |  |
| 2045344 | Plug connector spare pa |  |
| 2071061 | Plug connector spare pa |  |
| 2046121 | Sensor spare part |  |
| 2046120 | Sensor spare part |  |
| DHT200 | DHT200 |  |
| 2055343 | Printed-circuit board ass |  |
| 2039316 | Pivoted shutter |  |
| 2093245 | Repair kit |  |
| 6072035 | Motor |  |
| 2042787 | Printed-circuit board ass |  |
| 4054427 | Housing part |  |
| 2071906 | Housing part |  |
| 5321351 | O-ring |  |
| 5314127 | Screw |  |
| 2082185 | Drive component |  |
| 2039129 | Cover |  |
| 2039603 | Housing |  |
| 2049316 | Cable |  |
| 2049315 | Cable |  |
| 2085457 | Set of screws |  |
| 2067762 | Housing part |  |
| 2034077 | Cover |  |
| 5340076 | Cleaning agents |  |
| 2039566 | housing part |  |
| 2066656 | Printed-circuit board ass |  |
| 2059967 | Printed-circuit board ass |  |
| 6072035 | Motor |  |
| 2039619 | Pivoted shutter |  |
| 2093245 | Repair kit |  |
| 2042787 | Printed-circuit board ass |  |
| 2047178 | Reflector assembly |  |
| 2043242 | Reflector assembly |  |
| 2076866 | Reflector assembly |  |
| 2039129 | Cover |  |
| 2071906 | Housing part |  |
| 5321351 | O-ring |  |
| 2055407 | Housing |  |
| 2067762 | Housing part |  |
| 2049526 | Printed-circuit board ass |  |
| 2050635 | Power supply unit, 24 V |  |
| 2086036 | Display module |  |
| 2104866 | Housing |  |
| 2102634 | Housing |  |
| 7047042 | fan |  |
| 7047560 | Filter element |  |
| 2084307 | screw connection kit |  |
| 2048920 | Module |  |
| 2072693 | Module |  |
| 2048958 | Module |  |
| 2059546 | Module |  |
| 2069667 | Module |  |
| 2034656 | Module |  |
| 2034657 | Module |  |
| 6033578 | Plug connector |  |
| 2054541 | Fuse |  |
| 6061038 | cable |  |
| 2046545 | cable |  |
| 2085319 | Battery |  |
| SP100 | SP100 |  |
| 4052222 | Housing |  |
| 4098422 | Housing |  |
| 4093574 | Housing |  |
| 2043948 | Assembly |  |
| 2047899 | Protective pipe |  |
| 2043920 | Protective pipe |  |
| 2049565 | Protective pipe |  |
| 2050355 | Protective pipe |  |
| 2051680 | Protective pipe |  |
| 2056388 | Protective pipe |  |
| 2102692 | Protective pipe |  |
| 7047714 | Sintered metal filter |  |
| 2089355 | Screw |  |
| 2049584 | Motor |  |
| 7047036 | Flat seal |  |
| 7047937 | Flat seal |  |
| 5321973 | O-ring |  |
| 5329376 | O-ring |  |
| 2123104 | KNURLED HANDLE SET |  |
| 2085456 | Set of screws |  |
| 2043435 | housing part |  |
| 2043839 | Housing |  |
| 2049315 | Cable |  |
| 2034077 | Cover |  |
| 5340076 | Cleaning agents |  |
| 5343133 | cleaning agents |  |
| 5328042 | O-ring |  |
| 2049526 | Printed-circuit board ass |  |
| 2050635 | Power supply unit, 24 V |  |
| 2086036 | Display module |  |
| 2104866 | Housing |  |
| 2102634 | Housing |  |
| 7047042 | fan |  |
| 7047560 | Filter element |  |
| 2084307 | screw connection kit |  |
| 2048920 | Module |  |
| 2072693 | Module |  |
| 2048958 | Module |  |
| 2059546 | Module |  |
| 2069667 | Module |  |
| 2034656 | Module |  |
| 2034657 | Module |  |
| 6033578 | Plug connector |  |
| 2054541 | Fuse |  |
| 6039527 | HOLDER, FUSE F 5*2 |  |
| 6061038 | cable |  |
| 2046545 | cable |  |
| 2085319 | Battery |  |
| FWE200DH | FWE200DH |  |
| 2083090 | Housing part |  |
| 2083087 | Seal kit |  |
| 4077727 | Swirl chamber |  |
| 2103720 | module |  |
| 2104865 | Insulation |  |
| 4077459 | Heating sleeve |  |
| 2072972 | Temperature sensor |  |
| 2071633 | Temperature sensor |  |
| 2091914 | Connection |  |
| 2072524 | Ejector |  |
| 4079762 | Nozzle |  |
| 4078248 | Nozzle |  |
| 7047823 | Housing part |  |
| 4078009 | Nozzle |  |
| 2088445 | Swirl chamber |  |
| 4091908 | Flat seal |  |
| 5313673 | Hose |  |
| 5328761 | Hose |  |
| 7047755 | Hose |  |
| 7045039 | Mounting materials |  |
| 5700520 | Mounting materials |  |
| 2122142 | Module |  |
| 2107598 | measurement module |  |
| 2049584 | Motor |  |
| 2072068 | Cover |  |
| 2068750 | drive component |  |
| 4078034 | housing part |  |
| 5340076 | Cleaning agents |  |
| 5343133 | cleaning agents |  |
| 2124185 | Unit |  |
| 2086036 | Display module |  |
| 2102666 | Housing parts. Description: Protective pipe, nominal length 435 mm, for sender/receiver unit DHSP-TxV1, material stainless steel, carbide-coated. Type: Spare part Suitable for: DUSTHUNTER SP100 |  |
| 6048744 | Sensors. Description: Proximity sensor, for slide mechanism. Type: Spare part. Suitable for: FWE200DH |  |
|  | Viton diaphragm set - obsolete-replaced by: 2037538 for S710 and SIDOR 2037540 for S700 2050753 for S8XX attention: 6027122 for 230 V versions |  |
| 2065391 | Gasfilter for NO measurement, pre aged. |  |
| 2056464 | Printed-circuit board assemblies Description: “BCU main boardv printed-circuit board assembly, loaded with current software and device data Note: Attention: serial number and software version reqguired1 Type: Spare part Suitable for: GMS800 FIDOR, GMS800 |  |
| 2060090 | Printed-circuit board assemblies Description: “UNOR/MULTOR main boardv printed-circuit board assembly, loaded with current software Note: Attention: serial number and software version reqguired1 Type: Spare part Suitable for: GMS800 |  |
| 6052161 | Heating |  |
| 6023150 | Heating |  |
| 6023153 | Heating |  |
| 6023159 | Heating |  |
| 6052206 | Heating |  |
| 6023148 | Heating |  |
| 6023151 | Heating |  |
| 6023157 | Heating |  |
| 5321499 | Filter |  |
| 5321500 | Filter |  |
| 4035253 | Flat seal |  |
| 4035279 | Flat seal |  |
| 4035249 | Flat seal |  |
| 4035258 | Flat seal |  |
| 5310011 | O-ring |  |
| 5309974 | O-ring |  |
| 4036416 | Housing part |  |
| 2039002 | Maintenance kit |  |
| 2060250 | Valve |  |
| 6024087 | Temperature sensor |  |
| 2086198 | Temperature sensor |  |
| 6023104 | Heating cartridge |  |
| 6023852 | Thermal circuit breaker |  |
| 6053091 | Thermal circuit breaker |  |
| 2024969 | Housing part |  |
| 5310224 | Mounting materials |  |
| 5310422 | Mounting materials |  |
| 4036258 | Insulation |  |
| 4036248 | Housing part |  |
| 4036246 | Housing part |  |
| 4036255 | Housing part |  |
| 5310430 | Mounting materials |  |
| 5310020 | O-ring |  |
| 4036253 | Flat sealing ring |  |
| 4069422 | Flat seal |  |
| 4036247 | Housing part |  |
| 4036252 | Flat sealing ring |  |
| 2024362 | Valve cone |  |
| 4036256 | Housing part |  |
| 5309457 | Screw-in connection |  |
| 5309458 | Screw-in connection |  |
| 5326096 | Screw-on connection |  |
| 5310552 | Threa&e& fittings |  |
| 5309203 | A&apter screw connection |  |
| 5310560 | CLOSURE PLUG NPT1/4" SS |  |
| 5309204 | Adapter screw connection |  |
| 5309475 | Screw-in connection |  |
| 5310585 | Reduction fitting |  |
| 2060701 | Maintenance kit |  |
| 2060733 | Maintenance kit |  |
| 6023852 | Thermal circuit breaker |  |
| 6053091 | Thermal circuit breaker |  |
| 6023119 | Heating cartri&ge |  |
| 2086202 | Temperature sensor |  |
| 4055234 | Housing part |  |
| 4055233 | Nozzle |  |
| 2056650 | Nozzle |  |
| 2086231 | Nozzle set |  |
| 5309972 | O-ring |  |
| 5315176 | O-ring |  |
| 5309981 | O-ring |  |
| 5310429 | Mounting materials |  |
| 5314367 | Sealing ring |  |
| 5309476 | Screw-in connection |  |
| 5309481 | Screw-in connection |  |
| 5310562 | Threa&e& fittings |  |
| 4043348 | Screw |  |
| 5309452 | Screw-in connection |  |
| 5309458 | Screw-in connection |  |
| 5309448 | Screw-in connection |  |
| 2100522 | Ejector |  |
| 6039716 | Ring core transformer |  |
| 2062037 | Printed-circuit board assembly |  |
| 2103951 | Printed-circuit board assembly |  |
| 2083794 | Retrofitting kit |  |
| 2085767 | Printed-circuit board assembly |  |
| 2066629 | Memory card |  |
| 4050392 | Memory card |  |
| 2056724 | Fan |  |
| 2058704 | Fan |  |
| 2083130 | Cable |  |
| 2056708 | Cable |  |
| 2056710 | Cable |  |
| 2056712 | Cable |  |
| 2083132 | Cable |  |
| 6004298 | Fuse |  |
| 6004303 | Fuse |  |
| 6004310 | Fuse |  |
| 2100500 | Pressure control mo&ule |  |
| 2084235 | Repair kit |  |
| 2060110 | Emitter |  |
| 2060244 | Emitter module |  |
| 2056697 | Motor |  |
| 6042188 | Photomultiplier |  |
| 2056717 | Fotomultiplierfassung |  |
| 2056444 | Photo-elastic modulator |  |
| 2056699 | Photoelectric sensor |  |
| 5324455 | O-ring |  |
| 6028650 | Thermal circuit breaker |  |
| 6053760 | Thermal circuit breaker |  |
| 2049578 | Printe&-circuit boar& assembly |  |
| 6023118 | Heating cartridge |  |
| 6024087 | Temperature sensor |  |
| 2086201 | Temperature sensor |  |
| 5310003 | O-ring |  |
| 2059291 | Win&ow frame |  |
| 2056709 | Cable |  |
| 5310530 | Sealing ring |  |
| 5700726 | Mounting materials |  |
| 4059653 | Insulation |  |
| 4059656 | Insulation |  |
| 2060246 | Cell |  |
| 2086655 | module |  |
| 2062703 | Temperature sensor |  |
| 4064732 | Mounting materials |  |
| 5325010 | Hose |  |
| 5324356 | Hose |  |
| 5327897 | Mounting materials |  |
| 2085454 | Repair kit |  |
| 5309386 | Valve |  |
| 6041215 | Magnet valve |  |
| 6041216 | Magnet valve |  |
| 6041217 | Magnet valve |  |
| 6041218 | Magnet valve |  |
| 2083395 | filter element kit |  |
| 2083395 | filter element kit |  |
| 5319343 | Maintenance kit |  |
| 5327075 | filter element kit |  |
| 5341738 | filter element |  |
| 5327020 | Maintenance kit |  |
| 5325841 | Filter |  |
| 5325842 | Hose |  |
| 5325844 | Filter |  |
| 5325779 | Pipe |  |
| 5335488 | Hose kit |  |
| 5603853 | Reagent |  |
| 5603854 | Reagent |  |
| 5604334 | Reagent |  |
| 5603855 | Reagent |  |
| 5603856 | Reagent |  |
| 5603857 | Reagent |  |
| 2069323 | Cap |  |
| 5327730 | Cap |  |
| 2070862 | Retrofitting kit |  |
| 2057071 | Display module |  |
| 2056712 | Cable |  |
| 5325628 | Hose |  |
| 5339327 | Hose |  |
| 2077161 | Display module |  |
| 2073011 | Power supply unit |  |
| 2077208 | Cable |  |
| 6029938 | filter fan |  |
| 6034702 | filter fan |  |
| 5314520 | Filter |  |
| 5312422 | Filter element |  |
| 5325628 | Hose |  |
| 5339327 | Hose |  |
| 2065213 | Tool |  |
| 2080826 | FPGA JTAG PROGRAMMING DEVICE |  |
| 2139891 | SP-SET SERVICE KIT PT100 F: HOSES 2 |  |
| 2083794 | Retrofit kit |  |
| 6052161 | Heating |  |
| 6023150 | Heating |  |
| 6023153 | Heating |  |
| 6023156 | Heating |  |
| 6023159 | Heating |  |
| 6052206 | Heating |  |
| 6023148 | Heating |  |
| 6023151 | Heating |  |
| 6023154 | Heating |  |
| 6023157 | Heating |  |
| 5321499 | Filter |  |
| 5321500 | Filter |  |
| 4035253 | Flat seal |  |
| 4035279 | Flat seal |  |
| 4035249 | Flat seal |  |
| 4035258 | Flat seal |  |
| 5310011 | O-ring |  |
| 5309974 | O-ring |  |
| 4036416 | Housing part |  |
| 2039002 | Maintenance kit |  |
| 2043615 | Maintenance kit |  |
| 2043616 | Maintenance kit |  |
| 2024972 | filter element kit |  |
| 4036253 | Flat sealing ring |  |
| 4069422 | Flat seal |  |
| 5310020 | O-ring |  |
| 2060250 | Valve |  |
| 2024968 | Valve bellows |  |
| 4036252 | Flat sealing ring |  |
| 2024362 | Valve cone |  |
| 4036256 | Housing part |  |
| 4036247 | Housing part |  |
| 5310158 | Valve |  |
| 6024087 | Temperature sensor |  |
| 2086198 | Temperature sensor |  |
| 6023104 | Heating cartridge |  |
| 6023852 | Thermal circuit breaker |  |
| 6053091 | Thermal circuit breaker |  |
| 2024969 | Housing part |  |
| 5310422 | Mounting materials |  |
| 5310224 | Mounting materials |  |
| 4036258 | insulation |  |
| 4036248 | Housing part |  |
| 4036246 | Housing part |  |
| 4036255 | Housing part |  |
| 5310430 | Mounting materials |  |
| 5309229 | Screw-on connection |  |
| 5309230 | Screw-on connection |  |
| 5309475 | Screw-in connection |  |
| 5309459 | Screw-in connection |  |
| 5310270 | Bulkhead fitting |  |
| 5309227 | Screw-on connection |  |
| 5309228 | Screw-on connection |  |
| 5309449 | Screw-in connection |  |
| 5310278 | Bulkhead fitting |  |
| 5309133 | Bulkhead fitting |  |
| 2045741 | mirror kit |  |
| 2045740 | Maintenance kit |  |
| 2045339 | Maintenance kit |  |
| 2072754 | Maintenance kit |  |
| 2065267 | Maintenance kit |  |
| 2045739 | Maintenance kit |  |
| 5315551 | O-ring |  |
| 2097393 | Valve |  |
| 4048555 | Valve |  |
| 5309235 | FEMA.CONNEC.STRAIGHT 6MM NPT1/4" SS 4041299 Housing part |  |
| 2086230 | Nozzle set |  |
| 6023852 | Thermal circuit breaker |  |
| 6053091 | Thermal circuit breaker |  |
| 6031051 | heating cartridge chain |  |
| 6024087 | Temperature sensor |  |
| 2082683 | Temperature sensor |  |
| 4041390 | Housing part |  |
| 5320799 | Absorber |  |
| 6035440 | Emitter module |  |
| 6035439 | Laser module |  |
| 6035445 | Printed-circuit board assembly |  |
| 6050394 | Printed-circuit board assembly |  |
| 5320800 | Window |  |
| 5320801 | Sealing strip |  |
| 5320802 | O-ring |  |
| 2094457 | “O2” sensor |  |
| 5309475 | Screw-in connection |  |
| 5309452 | Screw-in connection |  |
| 5315549 | O-ring |  |
| 5309461 | Screw-in connection |  |
| 4085186 | SCREW IN ADAPTER G1/8 D6 NPQH |  |
| 4085187 | Push-in fitting |  |
| 5331655 | PUSH-IN FITT. D 6 D 6 90GRD BRAS-N¦PL |  |
| 5331656 | Push-in fitting |  |
| 5314365 | Sealing ring |  |
| 5309474 | Screw-in connection |  |
| 2066818 | Maintenance kit |  |
| 5315182 | Pipe |  |
| 2055532 | Maintenance kit |  |
| 5309807 | Clamp ring |  |
| 5310588 | Clamp ring |  |
| 5310517 | Nut |  |
| 2039378 | Fan |  |
| 2089772 | Repair kit |  |
| 2089773 | Repair kit |  |
| 6024172 | pressure sensor module |  |
| 2124095 | Printed-circuit board assembly |  |
| 2123760 | Cable |  |
| 2130704 | SP-SET EXC.PCB-LPFT01 DL-HF LESS 0,5MG |  |
| 2130537 | SP-SET PCB-MOD. L¦NUX DL-HF LESS 0,5MG |  |
| 2085713 | Printed-circuit board assembly |  |
| 2066629 | Memory card |  |
| 2087407 | Printed-circuit board assembly |  |
| 2025250 | Temperature sensor |  |
| 6032891 | Cable |  |
| 2044689 | Cable |  |
| 2112954 | Cable |  |
| 2055317 | Cable |  |
| 2055318 | Cable |  |
| 2112955 | Cable |  |
| 2055529 | Module |  |
| 2052304 | Cable |  |
| 2055530 | Wiring harness |  |
| 2055531 | Maintenance kit |  |
| 2055533 | temperature sensor kit |  |
| 2052248 | O-ring set |  |
| 2055515 | O-ring set |  |
| 2100521 | Pressure control module |  |
| 2084267 | Pressure control module |  |
| 2092022 | Retrofitting kit |  |
| 2092030 | Retrofitting kit |  |
| 2083395 | filter element kit |  |
| 5333193 | Absorber |  |
| 5319343 | Maintenance kit |  |
| 5327075 | filter element kit |  |
| 5341738 | filter element |  |
| 5344680 | O-ring |  |
| 5333087 | Push-in fitting |  |
| 5342228 | Pressure sensor |  |
| 2035167 | Power supply unit |  |
| 2034515 | Module |  |
| 2025041 | Housing part |  |
| 2023618 | Printed-circuit board assembly |  |
| 2025047 | Retrofitting kit |  |
| 2025048 | Retrofitting kit |  |
| 2025049 | Retrofitting kit |  |
| 2025051 | Retrofitting kit |  |
| 2025050 | Retrofitting kit |  |
| 2025052 | Retrofitting kit |  |
| 6023726 | Semiconductor |  |
| 2025281 | Optical fiber |  |
| 6048627 | Filter fan |  |
| 6048628 | Filter fan |  |
| 2069815 | Housing part |  |
| 5309684 | filter element |  |
| 5309386 | Valve |  |
| 6041215 | Magnet valve |  |
| 6041218 | Magnet valve |  |
| 6041216 | Magnet valve |  |
| 2072975 | Temperature controller |  |
| 2089975 | Temperature controller |  |
| 2089977 | Temperature controller |  |
| 2089976 | Temperature controller |  |
| 2089978 | Temperature controller |  |
| 6050945 | Semiconductor |  |
| 6041449 | Semiconductor |  |
| 5310467 | Reduction |  |
| 6027504 | Module |  |
| 6062932 | Module |  |
| 6062933 | Module |  |
| 5329115 | Module |  |
| 2034656 | Module |  |
| 2034657 | Module |  |
| 2034658 | Module |  |
| 2034659 | Module |  |
| 2034660 | module |  |
| 2128459 | PC,PANEL W.CF-CARD FOR MCS100FT |  |
| 2065213 | Tool |  |
| 5322506 | PROTECT¦ON GLASSES 0,01W 625-650NM R1 |  |
| 2139891 | SP-SET SERV¦CE K¦T PT100 F. HOSES 250°C |  |
| 2130703 | Printed-circuit board assemblies Description: ''LinuxCPU'' printed-circuit board assembly module, incl. 'LinuxCPU'' and ''LPFT01, control board'' printed- circuit board assembly, pre-assembled NOTE: For replacing an old printed-circuit board assembly module (2063291) and an old ''LPFT01 control board'' printed-circuit board assembly (2055310 / 2068666) incl. firmware + calibration data NOTE: Without device parameters Detector Limit HF >0,5 MilliGramm per cubic meter m3 NOTE: For applications with HF (non-European standard) or when no HF is measured. Serial number must be specified! Type: Spare part Suitable for: MCS100FT |  |
| 2130536 | Printed-circuit board assemblies Description: ''Linux CPU'' printed-circuit board assembly incl. firmware + calibration data NOTE: Without device parameters Detector Limit HF >0,5 MilliGramm per cubic meter m3 NOTE: For applications with HF (non-European standard) or when no HF is measured. Serial number must be specified! Type: Spare part Suitable for: MCS100FT |  |
| 2086304 | Repair kits Description: “Gas conveyance block” repair kit, mounted Consists of: 1 x gas conveyance block / 1 x nozzle set / 1 x “gas conveyance block” O-ring set / 1 x “FID detector” O-ring set / 1 x fitting kit Note: For capillary version with “low pressure” pressure regulation module (2039703) Type: Spare part Suitable for: MCS100FT |  |
| 2086305 | Repair kits Description: “Gas conveyance block” repair kit, mounted Consists of: 1 x gas conveyance block / 1 x nozzle set / 1 x “gas conveyance block” O-ring set / 1 x “FID detector” O-ring set / 1 x fitting kit Note: For versions with “low pressure V3” pressure regulation module (2070953) and “low pressure V4” pressure regulation module (2084267) Type: Spare part Suitable for: MCS100FT |  |
| 2063865 | Housing parts Description: Cabinet door, standard design, complete, programmed with device data Note: Warning: The serial number must be specified and a backup of the device data (*.SPR file) must be sent by e-mail! / Warning: The door hinge side must be specified! The left side is standard. Type: Spare part Suitable for: MCS100FT |  |
| 2063920 | Housing parts Description: Cabinet door, design with window for ThermoFID plug-in module, complete, programmed with device data Note: Warning: The serial number must be specified and a backup of the device data (*.SPR file) must be sent by e-mail! / Warning: The door hinge side must be specified! The left side is standard. Type: Spare part Suitable for: MCS100FT |  |
| 2086219 | Printed-circuit board ass |  |
| 2105591 | pressure sensor |  |
| 2092294 | Module |  |
| 2050635 | Power supply unit, 24 VD |  |
| 2084307 | screw connection kit |  |
| 2048920 | Module |  |
| 2072693 | Module |  |
| 2048958 | Module |  |
| 2069667 | Module |  |
| 6010378 | Battery |  |
| 2091381 | Printed-circuit board ass |  |
| 2103036 | freqauency inverter |  |
| 5306090 | Filter |  |
| 5306091 | Filter element |  |
| 6053215 | fan |  |
| 5324658 | filter element |  |
| 2121595 | Ring core transformer |  |
| 2071769 | Cover |  |
| 2090161 | Repair kit |  |
| 7047850 | Flat seal |  |
| 2072204 | filter holder |  |
| 2110776 | hose |  |
| 2110777 | hose |  |
| 2110778 | hose |  |
| 2084672 | Nozzle kit |  |
| 2084673 | Nozzle kit |  |
| 2049526 | Printed-circuit board ass |  |
| 2050635 | Power supply unit, 24 VD |  |
| 2086036 | Display module |  |
| 2104866 | Housing |  |
| 2102634 | Housing |  |
| 7047042 | fan |  |
| 7047560 | Filter element |  |
| 2084307 | screw connection kit |  |
| 2048920 | Module |  |
| 2072693 | Module |  |
| 2048958 | Module |  |
| 2059546 | Module |  |
| 2069667 | Module |  |
| 2034656 | Module |  |
| 2034657 | Module |  |
| 6033578 | Plug connector |  |
| 2054541 | Fuse |  |
| 6039527 | HOLDER, FUSE F. 5*2 |  |
| 6061038 | cable |  |
| 2046545 | cable |  |
| 2085319 | Battery |  |
| MAC800 | MAC800 |  |
| 2071115 | Retrofitting kit |  |
| 2027973 | FILTER COMPLTE W. FI 6 |  |
| 2051031 | Chopper |  |
| 2051027 | Reagent |  |
| 2028497 | Sealing set |  |
| 2050770 | Printed-circuit board ass |  |
| 2050772 | Power supply unit |  |
| 2051018 | Hose |  |
| 2051029 | Filter |  |
| 2062251 | Fuse |  |
| 5311935 | Hose |  |
| 5312379 | Terminal |  |
| 6027131 | PUMP ,TUB.408,0ML/H |  |
| 6027252 | PUMP ,MEM. 5.5L/M¦N |  |
| 2072704 | Repair kit |  |
| 2050899 | Detector |  |
| 2050900 | Detector |  |
| 2050901 | Detector |  |
| 2050902 | Detector |  |
| 2050903 | Detector |  |
| 2050256 | Pressure sensor |  |
| 2050751 | Flow sensor |  |
| 2086021 | Moisture sensor |  |
| 4039172 | Connection |  |
| 5311931 | Membrane kit |  |
| 5312082 | Pump suspension |  |
| DEFOR | DEFOR |  |
| 2050776 | Emitter module |  |
| 2050778 | Cell |  |
| 2050779 | Cell |  |
| 2050780 | Cell |  |
| 2050781 | Cell |  |
| 2050782 | Cell |  |
| 2050806 | Adjustment cell |  |
| 2050809 | Filter cell |  |
| 2050812 | Adjustment cell |  |
| 2067621 | Housing part |  |
| 2051066 | SP-MOTORFLANGE 2, M |  |
| 2046315 | FILTER WHEEL 4,MOUNT |  |
| 2046313 | KAL.DRIVE,MOUNTED |  |
| 2065380 | CALIBRATING CUVETTE S |  |
| 4054692 | DRIVE PULLEY DB15,4/D |  |
| UNOR | UNOR |  |
| 2028497 | Sealing set |  |
| 2051024 | Absorber |  |
| 2051025 | Absorber |  |
| 2051027 | Reagent |  |
| 2051031 | Chopper |  |
| 2051035 | Motor |  |
| 2051036 | Heating |  |
| 2051037 | Heating |  |
| 2050763 | Cable |  |
| 2050760 | Printed-circuit board ass |  |
| 2050755 | Cable |  |
| 2051018 | Hose |  |
| 2050933 | Pipe connection |  |
| 2050934 | Pipe connection |  |
| 2028497 | Sealing set |  |
| 2051024 | Absorber |  |
| 2051025 | Absorber |  |
| 2051027 | Reagent |  |
| 2051031 | Chopper |  |
| 2051035 | Motor |  |
| 2051036 | Heating |  |
| 2051037 | Heating |  |
| 2050763 | Cable |  |
| 2050760 | Printed-circuit board ass |  |
| 2050755 | Cable |  |
| 2051018 | Hose |  |
| 2050933 | Pipe connection |  |
| 2050934 | Pipe connection |  |
| 2050935 | Reduction fitting |  |
| 2049991 | Male connector kit |  |
| 2049993 | Male connector kit |  |
| 2062252 | Terminator |  |
| 2062253 | Terminator |  |
| 2062254 | Hose |  |
| 2052461 | Maintenance kit |  |
| GMS810 | GMS810 |  |
| 2056614 | Module |  |
| 2056463 | Display module |  |
| 2056465 | Cable |  |
| I/O modules | I/O modules |  |
| 2050748 | Module |  |
| 2050775 | Module |  |
| 2060089 | Printed-circuit board ass |  |
| 5312379 | Terminal |  |
| 5602589 | Lubricant |  |
| 2067621 | Housing part |  |
| 2051066 | SP-MOTORFLANGE 2, M |  |
| 2050773 | Motor |  |
| 2050809 | Filter cell |  |
| OPTICS | OPTICS |  |
| 2051068 | Mirror support |  |
| 2051069 | Beam splitter |  |
| 2050804 | Adjustment cell |  |
| 2050805 | Adjustment cell |  |
| 2051072 | Module |  |
| DETECTOR | DETECTOR |  |
| 2050718 | Detector |  |
| 2050747 | Detector |  |
| 2051052 | Measurement module |  |
| 2051043 | “O2” sensor |  |
| 2084171 | Emitter |  |
| 2063323 | Drive component |  |
| Kuweta dt. 60 | Kuweta dt. 60 |  |
| 2050999 | Cell |  |
| 2051000 | Cell |  |
| 2051002 | Cell |  |
| Kuweta dt. 100 mm | Kuweta dt. 100 mm |  |
| 2051003 | Cell |  |
| 2051004 | Cell |  |
| 2051005 | Cell |  |
| 2051006 | Cell |  |
| 2051008 | Cell |  |
| Kuweta dt. 140 mm | Kuweta dt. 140 mm |  |
| 2051009 | Cell |  |
| 2051012 | Cell |  |
| 2051013 | Cell |  |
| Kuweta dt. 200 mm | Kuweta dt. 200 mm |  |
| 2051014 | Cell |  |
| 2051017 | Cell |  |
| 2030462 | SP-SET FILTER W.SAELIN |  |
| 5313317 | Water trap |  |
| 5312349 | FILTERELEMENT F. AERO |  |
| 5312317 | SPARE PART-SET N86KT1 |  |
| 5310252 | Hose |  |
| 2038474 | SPARE SET FIBER GLASS F |  |
| 5312336 | PREFILTER SP2000/V2 |  |
| Filter cuvettes | Filter cuvettes |  |
| 2037421 | CALIBRATION CUVETTE,P |  |
| 2029769 | STAND.CALIBR.CUVETTE |  |
| 2029690 | STAND.CALIBR.CUV. 1 (F¦ |  |
| 5311877 | O-ring |  |
| Measuring chambers UNOR | Measuring chambers UN |  |
| 2050899 | Detector |  |
| 2050900 | Detector |  |
| 2050901 | Detector |  |
| 2050902 | Detector |  |
| 2050903 | Detector |  |
| 2050904 | Detector |  |
| 2050905 | Detector |  |
| 2050906 | Detector |  |
| 2050907 | Detector |  |
| 2050908 | Detector |  |
| 2050909 | Detector |  |
| 2050910 | Detector |  |
| 2050911 | Detector |  |
| 2050912 | Detector |  |
| 2050913 | Detector |  |
| Kuwety pomiarowe UNOR i Multor | Kuwety pomiarowe UNO |  |
| 2050914 | Detector |  |
| 2050915 | Detector |  |
| 2050916 | Detector |  |
| 2050917 | Detector |  |
| 2050918 | Detector |  |
| 2050919 | Detector |  |
| 2050921 | Detector |  |
| 2063782 | Detector |  |
| 2050923 | Detector |  |
| 2050924 | Detector |  |
| 2050925 | Detector |  |
| 2050926 | Detector |  |
| 2050927 | Detector |  |
| 2050928 | Detector |  |
| 2050929 | Detector |  |
| 2050930 | Detector |  |
| 2050931 | Detector |  |
| SCU Processor | SCU Processor |  |
| 2056275 | PC,PANEL W.CF-CARD |  |
| 2031142 | POWER SUPPLY MODUL |  |
| 2031144 | Module |  |
| 6033578 | Plug connector |  |
| 2034656 | Module |  |
| 2034657 | Module |  |
| 2034658 | Module |  |
| 2034659 | Module |  |
| 2034660 | module |  |
| 2034661 | Module |  |
| 6028672 | MODIO-S END PLATE |  |
| 6028673 | MODIO-S END BRAC |  |
| 2060091 | Printed-circuit board assemblies Description: “UNOR/MULTOR main boardv printed-circuit board assembly, loaded with current software and device data Note: Attention: serial number and software version reqguired1 Type: Spare part Suitable for: GMS800 |  |
| 2060244 | Emitter module |  |