Welcome to the premises of Operator Gazociągów Przesyłowych GAZ-SYSTEM S.A.

We hope that your activities on our premises will be conducted in compliance with all safety rules and safety culture principles in order to ensure successful progress and good cooperation. Please read the following information carefully before entering the premises.

Employee and visitor safety is our top priority. Please observe the rules set out below. We have created them for YOUR safety.

|  | THE CONTRACTOR IS OBLIGED TO: Immediately inform the OHS and Fire Safety Office about any safety incidents (including, but not limited to: accidents at work, occupational diseases, explosions, fires and other hazardous events) observed on the premises of Operator Gazociągów Przesyłowych GAZ-SYSTEM S.A. Tel. 22 20 14 95, e-mail: sekretariat.bh@gaz-system.pl |
| --- | --- |

DURING WORKS PERFORMANCE IT IS PROHIBITED TO:

- Enter the facility without a valid permit, perform gas/hazardous work without a written Work Order.

- Allow work provision by persons without:

- up-to-date medical clearance,

- valid safety induction and job safety training,

- applicable licences/certificates and qualifications for the job.

- Operate machinery, equipment and tools that are not in good working order or do not have a valid inspection/check.

- Use equipment and mobile phones not suitable for ATEX zones.

- Bring alcohol onto the premises or perform any work when under the influence of alcohol or psychoactive substances.

- Use open flame and smoke tobacco products/e-cigarettes outside the designated areas.

- Block passageways constituting evacuation and fire routes.

- Obstruct free access to fire-fighting equipment and systems.

- Accumulate waste generated during the work outside areas designated for its storage.

If you have any questions, our staff are available to help.

OHS and Fire Safety Office: Tel. 22 20 14 95, e-mail: sekretariat.bh@gaz-system.pl

| Take special care when in ATEX zones. Familiarise yourself with their location and follow the rules. |  |
| --- | --- |
| Remember that 5-15% methane-air mixture is explosive. |  |
| Be aware of the danger posed by a medium under high pressure. Use the principle of limited trust when working with valves and fittings; make sure it is safe. |  |
| Remember about the obligation to monitor the environment in potentially explosive atmospheres. Oxygen and methane content must be measured with devices having valid calibration certificates. |  |
| Remember that using PPE, including work clothing with appropriate properties, is obligatory. |  |
| Remember that it is mandatory to continually conduct and monitor Job Safety Analysis for the individual positions. |  |

I hereby confirm that I have received information on the rules in force on the premises of Operator Gazociągów Przesyłowych GAZ-SYSTEM S.A. and commit to observe them. When performing the works, I undertake to take into account the existing hazards, to use adequate preventive measures and safeguards included in the Work Order No. .................................

……………………………………….

Date and signature of the Team Leader

Following safety rules does not slow down work,

but every accident DOES!