**Template - Annexe No. 1 to the Terms of Reference**

**Ordering Party:**

The Institute of High Pressure Physics of the Polish Academy of Sciences *[Instytut Wysokich Ciśnień Polskiej Akademii Nauk]*,

ul. Sokołowska 29/37,

01-142 Warszawa

**Case no.** **ZP-292/10/2025**

**Procedure:** Delivery of equipment for measuring the Hall effect as a function of temperature in direct current and alternating current modes

# THE CONTRACTOR’S TENDER

Contractor's full name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Voivodeship/province/region: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

National identification number (National Court Register / Business Register Number /Tax Identification Number): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Phone no. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Email address for receiving all correspondence related to the conducted proceedings (in the event of a Platform failure): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**All required documents to be submitted with the offer are indicated in Chapter 12 of the TOR**

**I.** **We offer to perform the subject of the contract ...................... (please specify model) for the offer price .......................**

**Settlements between the Contractor and the Ordering Party will be made in Polish zlotys (PLN) or euro (EUR) – the currency of the offer should be indicated.**

**Domestic contractors shall provide the GROSS bid price.**

**Foreign contractors shall quote the NET bid price**

Foreign contractors participating in this procedure who, under separate regulations, are not obliged to pay goods and services tax tax in the territory of Poland shall enter the **net** value of the contract on the tender form. For the sole purpose of evaluating and comparing tenders, the Ordering Party will add the VAT due at the tender evaluation stage. The contract will be signed for the net amount, VAT will be paid by the Ordering Party on its own.

**We offer:**

**1. Technical evaluation – maximum magnetic field intensity at room temperature:**

**dc mode:……………………………., ac mode:……………. (please specify)**

**Criterion weighting: 15%**

Magnetic field strength at room temperature:

Min. 0.9 T (DC mode) and min. 0.6 T (RMS, AC mode).

Bid evaluation criteria:

-0.9-1.2 T (DC mode) and 0.6-0.9 T (RMS, AC mode) at room temperature - 0 points

-1.2 T - 1.6 T (DC mode) and 0.9 T - 1.1 T (RMS, AC mode) at room temperature - 7.5 points

- above 1.6 T (DC mode) and above 1.1 T (RMS, AC mode) at room temperature - 15 points

**2. Technical evaluation – maximum measurement temperature:**

**cryostat:……………………………., furnace:………………. (please specify)**

Criterion weight: 15%

Maximum temperature: min. 300 K for the cryostat and min. 1000 K for the furnace

Bid evaluation criteria:

- 300 K for the cryostat and 1000 K for the furnace – 0 points

- 400 K for the cryostat or 1273 K for the furnace – 7.5 points

- 400 K for the cryostat and 1273 K for the furnace – 15 points

**3. Warranty period: ……………………………. (please specify)**

Criterion weight: 10%

Minimum 12 months

Bid evaluation criteria:

12 months - 0 points,

12 - 23 months - 5 points

At least 24 months - 10 points

**II. We declare that:**

1. We undertake to perform the contract within the time limit indicated in the Terms of Reference.

**III. We declare that:**

* + - 1. **We offer the subject matter of the contract that satisfies at least the requirements specified in the description of the subject matter of the contract - paragraph 3 of the Terms of Reference**
      2. Pursuant to the Goods and Services Tax Act, the obligation to pay the tax arises on part of ........................................ (please specify: the Contractor or the Contracting Authority).

*If the Contractor fails to make an entry, the Contracting Authority will consider that the tax obligation is on the side of the Contractor*.

* + - 1. We are / I am:

󠄀 a micro enterprise;

󠄀 a small enterprise;

󠄀 a medium enterprise;

󠄀 a sole trader;

󠄀 a physical person not conducting economic activity;

󠄀 other.

*Mark as appropriate, if the Contractor does not mark, the Ordering Party considers that the correct indication is "other type"*

* + - 1. We have become familiar with the provisions contained in the notice and the Terms of Reference and do not raise any objections to them, and have obtained the information required to properly prepare the tender.

**IV. We inform that:**

The contract will be performed **with the use of our own resources / with the help of the Subcontractor**\* *............................. (provide the name or company name of the Subcontractor and its registered office,* *if known at the stage of submitting offers)*, who will perform the following part of the contract: *............................., specify the scope of the part of the contract the Contractor intends to subcontract) with a percentage of the contract value ..........%. (to be specified).*

**Note - the contractor of the public order cannot entrust the execution of all the tasks covered by the obtained public order to subcontractors.**

\*Cross out where not *applicable. If the Contractor does not cross out and does not fill in point IV item 1, the Ordering Party will consider that the Contractor intends to perform the order by its own forces.*

Where a Subcontractor accounts for more than 10% of the value of the contract, the Subcontractor shall submit a Statement on the grounds for exclusion under Article 5k and Article 7(1) - **Annex 2 to the SWZ.**

**V. We declare that** we have fulfilled the information obligations provided for in Article 13 or 14 of the GDPR1) towards natural persons whose personal data were obtained by us directly or indirectly for the purpose of applying for the award of the public contract in this procedure2).

***The document must be completed and signed under penalty of nullity, in electronic form with a qualified electronic signature***

***The Ordering Party recommends saving the document in PDF format.***

1Regulation (EU) 2016/679 of the European Parliament and of the Council of 27 April 2016 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data, and repealing Directive 95/46/EC (General Data Protection Regulation) (consolidated text, O J EU L 119 of 04/05/2016 p. 1).

2) If the Contractor does not provide personal data other than those directly concerning the Contractor, or there applies an exemption from the application of the information obligation, pursuant to Article 13(4) or Article 14(5) of the GDPR, the Contractor shall not make a statement of this content (delete the content of the statement, e.g. by crossing it off).